POU water filters information leaflets

Version 1.0, 7 May 2026

Point of use (POU) Water Filters

Information for Staff

Purpose of POU water filters:

To protect patients by filtering out bacteria that may be present in the water supply at the point of use.

What you should do:

Do not remove or tamper with the filters.

Check daily that the filters are:

- securely attached

- not visibly damaged

- within the labelled date of use

- not passed replacement date

- Report any issues immediately to Estates or IPC.

See Daily Checklist

Cleaning:

Filter should be cleaned in line with manufacturer’s instructions or local SOPs. External cleaning of taps/showers may be done as normal, avoiding contact with the filter outlet.

For any concerns or questions:

Infection Prevention and Control Team: [Phone/Email]

Estates Helpdesk: [Phone/Email]